Troubleshooting - PC connection Error

- After installed the software, connect computer with spectrophotometer by USB cable. plug in USB Key dongle.

- Double click the software icon. If you see following window, please follow the instruction

2.	Click View => Options

3.	In Options window, click Search button

4.	The computer will search for spectrophotometer, when it finish, the following window will be shown. Then click OK to close this window. 
(If can not find the device, please check the USB cable connection, make sure the spectrophotometer and computer are connected.)

5.  Click the Connect icon, the spectrophotometer will be controlled by the computer now.

- If still have problem, please try restart the computer and spectrophotometer. Check the connections. If the problem still exists, please contact ABBOTA local distributor.